## Plate 1 - Sheet1
Software Version | 3.05.11
Experiment File Path: | C:\Users\Preader2\Dropbox\Plate Reader_Charles\2019\2019-11-18 -- Chemical Dye Diffusion - Calibration Curves\CalibrationCurve.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2019-11-18
Time | 21:21
Reader Type: | Synergy H1
Reader Serial Number: | 19020417
Reading Type | Reader
Procedure Details
Plate Type | BioMe Plate v7.4 (Use plate lid)
Eject plate on completion
Set Temperature | Setpoint 30°C
Preheat before moving to next step
Start Kinetic | Runtime 6:00:00 (HH:MM:SS), Interval 0:15:00, 25 Reads
Read | Absorbance Endpoint
Full Plate
Wavelengths: 478, 490
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
End Kinetic
478
| Time | T° 478 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10
| 0:00 | 30 | 3.225 | 3.043 | 2.572 | 2.318 | 1.877 | 1.588 | 1.201 | 0.864 | 0.492 | 0.136 | 3.255 | 3.065 | 2.575 | 2.332 | 1.859 | 1.607 | 1.202 | 0.862 | 0.495 | 0.133 | 3.265 | 3.026 | 2.523 | 2.295 | 1.89 | 1.612 | 1.198 | 0.848 | 0.502 | 0.133 | 3.292 | 3.271 | 2.554 | 2.37 | 1.899 | 1.605 | 1.237 | 0.888 | 0.497 | 0.134 | 3.236 | 3.157 | 2.617 | 2.363 | 1.918 | 1.592 | 1.22 | 0.892 | 0.479 | 0.145 | 3.28 | 3.301 | 2.549 | 2.382 | 1.913 | 1.602 | 1.208 | 0.876 | 0.5 | 0.145
| 0:15 | 30 | 3.23 | 3.016 | 2.579 | 2.297 | 1.863 | 1.577 | 1.193 | 0.859 | 0.488 | 0.136 | 3.233 | 3.044 | 2.564 | 2.312 | 1.845 | 1.595 | 1.199 | 0.856 | 0.49 | 0.133 | 3.246 | 3.003 | 2.505 | 2.274 | 1.875 | 1.605 | 1.189 | 0.845 | 0.498 | 0.133 | 3.26 | 3.229 | 2.53 | 2.348 | 1.888 | 1.593 | 1.228 | 0.884 | 0.492 | 0.134 | 3.213 | 3.126 | 2.6 | 2.347 | 1.905 | 1.578 | 1.211 | 0.886 | 0.477 | 0.144 | 3.252 | 3.26 | 2.529 | 2.365 | 1.898 | 1.588 | 1.202 | 0.868 | 0.497 | 0.145
| 0:30 | 30 | 3.222 | 3.005 | 2.569 | 2.286 | 1.855 | 1.569 | 1.188 | 0.855 | 0.487 | 0.136 | 3.219 | 3.033 | 2.552 | 2.303 | 1.837 | 1.589 | 1.192 | 0.853 | 0.488 | 0.133 | 3.243 | 2.992 | 2.495 | 2.266 | 1.866 | 1.598 | 1.183 | 0.841 | 0.495 | 0.133 | 3.249 | 3.199 | 2.519 | 2.336 | 1.882 | 1.587 | 1.218 | 0.882 | 0.491 | 0.134 | 3.197 | 3.11 | 2.589 | 2.338 | 1.897 | 1.573 | 1.205 | 0.883 | 0.476 | 0.144 | 3.24 | 3.24 | 2.519 | 2.358 | 1.891 | 1.58 | 1.198 | 0.864 | 0.496 | 0.144
| 0:45 | 29.9 | 3.214 | 3 | 2.563 | 2.279 | 1.85 | 1.565 | 1.184 | 0.853 | 0.486 | 0.137 | 3.214 | 3.024 | 2.546 | 2.296 | 1.833 | 1.585 | 1.188 | 0.852 | 0.487 | 0.133 | 3.232 | 2.986 | 2.489 | 2.272 | 1.861 | 1.594 | 1.18 | 0.839 | 0.493 | 0.133 | 3.245 | 3.186 | 2.511 | 2.329 | 1.879 | 1.585 | 1.216 | 0.881 | 0.49 | 0.134 | 3.194 | 3.097 | 2.583 | 2.332 | 1.892 | 1.569 | 1.202 | 0.882 | 0.476 | 0.144 | 3.23 | 3.232 | 2.515 | 2.353 | 1.887 | 1.577 | 1.196 | 0.862 | 0.495 | 0.144
| 1:00 | 30 | 3.208 | 2.996 | 2.56 | 2.276 | 1.848 | 1.562 | 1.182 | 0.852 | 0.485 | 0.137 | 3.207 | 3.018 | 2.542 | 2.294 | 1.831 | 1.583 | 1.186 | 0.851 | 0.486 | 0.133 | 3.228 | 2.986 | 2.486 | 2.268 | 1.859 | 1.591 | 1.177 | 0.838 | 0.492 | 0.132 | 3.242 | 3.172 | 2.509 | 2.325 | 1.879 | 1.583 | 1.216 | 0.881 | 0.49 | 0.134 | 3.189 | 3.089 | 2.58 | 2.329 | 1.889 | 1.567 | 1.2 | 0.881 | 0.477 | 0.144 | 3.235 | 3.224 | 2.513 | 2.35 | 1.885 | 1.575 | 1.194 | 0.862 | 0.495 | 0.144
| 1:15 | 30.1 | 3.208 | 2.992 | 2.56 | 2.274 | 1.846 | 1.561 | 1.181 | 0.851 | 0.485 | 0.137 | 3.21 | 3.018 | 2.538 | 2.294 | 1.831 | 1.583 | 1.185 | 0.851 | 0.485 | 0.133 | 3.221 | 2.984 | 2.483 | 2.265 | 1.858 | 1.59 | 1.176 | 0.838 | 0.491 | 0.132 | 3.24 | 3.171 | 2.506 | 2.323 | 1.879 | 1.582 | 1.216 | 0.881 | 0.49 | 0.134 | 3.193 | 3.087 | 2.579 | 2.327 | 1.887 | 1.566 | 1.2 | 0.881 | 0.477 | 0.144 | 3.235 | 3.22 | 2.511 | 2.349 | 1.884 | 1.573 | 1.194 | 0.862 | 0.495 | 0.144
| 1:30 | 30.1 | 3.199 | 2.988 | 2.558 | 2.271 | 1.844 | 1.561 | 1.179 | 0.851 | 0.484 | 0.137 | 3.205 | 3.018 | 2.536 | 2.294 | 1.83 | 1.582 | 1.184 | 0.85 | 0.484 | 0.133 | 3.214 | 2.979 | 2.482 | 2.264 | 1.857 | 1.589 | 1.174 | 0.837 | 0.49 | 0.132 | 3.235 | 3.165 | 2.506 | 2.323 | 1.879 | 1.581 | 1.217 | 0.882 | 0.49 | 0.133 | 3.192 | 3.078 | 2.578 | 2.326 | 1.886 | 1.565 | 1.2 | 0.881 | 0.477 | 0.144 | 3.232 | 3.214 | 2.51 | 2.348 | 1.883 | 1.573 | 1.194 | 0.862 | 0.495 | 0.144
| 1:45 | 30 | 3.2 | 2.988 | 2.558 | 2.271 | 1.844 | 1.561 | 1.179 | 0.85 | 0.484 | 0.137 | 3.2 | 3.014 | 2.534 | 2.295 | 1.83 | 1.583 | 1.184 | 0.85 | 0.484 | 0.133 | 3.216 | 2.982 | 2.481 | 2.264 | 1.857 | 1.59 | 1.173 | 0.837 | 0.49 | 0.132 | 3.24 | 3.165 | 2.505 | 2.325 | 1.881 | 1.582 | 1.218 | 0.884 | 0.49 | 0.134 | 3.19 | 3.082 | 2.578 | 2.326 | 1.886 | 1.566 | 1.2 | 0.882 | 0.478 | 0.144 | 3.235 | 3.213 | 2.512 | 2.348 | 1.882 | 1.572 | 1.195 | 0.863 | 0.496 | 0.144
| 2:00 | 30.1 | 3.193 | 2.987 | 2.557 | 2.269 | 1.843 | 1.56 | 1.178 | 0.85 | 0.484 | 0.137 | 3.202 | 3.013 | 2.531 | 2.294 | 1.829 | 1.581 | 1.184 | 0.85 | 0.484 | 0.133 | 3.211 | 2.978 | 2.479 | 2.262 | 1.856 | 1.589 | 1.173 | 0.837 | 0.489 | 0.132 | 3.236 | 3.164 | 2.506 | 2.324 | 1.881 | 1.582 | 1.219 | 0.883 | 0.49 | 0.134 | 3.189 | 3.08 | 2.578 | 2.326 | 1.884 | 1.565 | 1.2 | 0.882 | 0.478 | 0.144 | 3.235 | 3.211 | 2.513 | 2.348 | 1.881 | 1.572 | 1.195 | 0.863 | 0.496 | 0.144
| 2:15 | 30 | 3.194 | 2.981 | 2.556 | 2.268 | 1.841 | 1.56 | 1.178 | 0.849 | 0.484 | 0.137 | 3.202 | 3.013 | 2.531 | 2.293 | 1.829 | 1.581 | 1.183 | 0.85 | 0.484 | 0.133 | 3.212 | 2.978 | 2.476 | 2.262 | 1.856 | 1.589 | 1.172 | 0.837 | 0.489 | 0.132 | 3.231 | 3.161 | 2.507 | 2.324 | 1.882 | 1.583 | 1.22 | 0.883 | 0.49 | 0.134 | 3.188 | 3.079 | 2.579 | 2.326 | 1.884 | 1.566 | 1.2 | 0.882 | 0.478 | 0.144 | 3.237 | 3.21 | 2.514 | 2.35 | 1.881 | 1.572 | 1.195 | 0.863 | 0.496 | 0.144
| 2:30 | 30 | 3.195 | 2.983 | 2.557 | 2.268 | 1.841 | 1.56 | 1.178 | 0.85 | 0.484 | 0.137 | 3.203 | 3.01 | 2.531 | 2.293 | 1.829 | 1.582 | 1.183 | 0.85 | 0.484 | 0.133 | 3.209 | 2.976 | 2.478 | 2.262 | 1.856 | 1.588 | 1.171 | 0.837 | 0.489 | 0.132 | 3.238 | 3.161 | 2.508 | 2.325 | 1.883 | 1.584 | 1.221 | 0.884 | 0.491 | 0.134 | 3.191 | 3.079 | 2.581 | 2.327 | 1.885 | 1.567 | 1.2 | 0.882 | 0.479 | 0.143 | 3.235 | 3.211 | 2.516 | 2.35 | 1.881 | 1.572 | 1.195 | 0.863 | 0.496 | 0.144
| 2:45 | 30 | 3.192 | 2.977 | 2.557 | 2.267 | 1.841 | 1.56 | 1.179 | 0.85 | 0.484 | 0.137 | 3.2 | 3.011 | 2.53 | 2.293 | 1.829 | 1.582 | 1.183 | 0.85 | 0.484 | 0.133 | 3.208 | 2.979 | 2.478 | 2.262 | 1.857 | 1.589 | 1.172 | 0.838 | 0.488 | 0.133 | 3.238 | 3.155 | 2.51 | 2.327 | 1.884 | 1.584 | 1.223 | 0.885 | 0.491 | 0.134 | 3.193 | 3.081 | 2.582 | 2.328 | 1.885 | 1.568 | 1.201 | 0.883 | 0.479 | 0.144 | 3.244 | 3.211 | 2.519 | 2.351 | 1.882 | 1.573 | 1.196 | 0.864 | 0.496 | 0.144
| 3:00 | 30.1 | 3.189 | 2.974 | 2.556 | 2.264 | 1.84 | 1.559 | 1.178 | 0.849 | 0.484 | 0.137 | 3.202 | 3.009 | 2.528 | 2.292 | 1.829 | 1.581 | 1.183 | 0.849 | 0.483 | 0.133 | 3.208 | 2.977 | 2.477 | 2.261 | 1.856 | 1.588 | 1.171 | 0.837 | 0.488 | 0.132 | 3.236 | 3.158 | 2.51 | 2.326 | 1.884 | 1.585 | 1.223 | 0.885 | 0.491 | 0.134 | 3.192 | 3.078 | 2.583 | 2.327 | 1.884 | 1.568 | 1.201 | 0.883 | 0.479 | 0.144 | 3.24 | 3.21 | 2.519 | 2.35 | 1.881 | 1.573 | 1.196 | 0.865 | 0.496 | 0.144
| 3:15 | 30 | 3.191 | 2.973 | 2.555 | 2.264 | 1.84 | 1.558 | 1.177 | 0.848 | 0.484 | 0.137 | 3.2 | 3.008 | 2.527 | 2.291 | 1.828 | 1.581 | 1.182 | 0.849 | 0.482 | 0.133 | 3.202 | 2.974 | 2.476 | 2.26 | 1.856 | 1.587 | 1.169 | 0.837 | 0.488 | 0.132 | 3.23 | 3.159 | 2.511 | 2.326 | 1.885 | 1.585 | 1.224 | 0.886 | 0.492 | 0.134 | 3.192 | 3.079 | 2.583 | 2.328 | 1.885 | 1.568 | 1.201 | 0.884 | 0.479 | 0.144 | 3.236 | 3.209 | 2.519 | 2.35 | 1.881 | 1.572 | 1.196 | 0.865 | 0.496 | 0.144
| 3:30 | 30.1 | 3.184 | 2.971 | 2.555 | 2.263 | 1.839 | 1.558 | 1.177 | 0.848 | 0.484 | 0.137 | 3.2 | 3.006 | 2.527 | 2.291 | 1.828 | 1.581 | 1.182 | 0.849 | 0.482 | 0.133 | 3.204 | 2.976 | 2.476 | 2.259 | 1.854 | 1.587 | 1.169 | 0.837 | 0.488 | 0.132 | 3.231 | 3.161 | 2.511 | 2.327 | 1.885 | 1.586 | 1.224 | 0.886 | 0.492 | 0.134 | 3.193 | 3.082 | 2.583 | 2.327 | 1.885 | 1.569 | 1.202 | 0.883 | 0.479 | 0.144 | 3.239 | 3.207 | 2.521 | 2.351 | 1.881 | 1.572 | 1.196 | 0.865 | 0.496 | 0.144
| 3:45 | 30 | 3.187 | 2.97 | 2.554 | 2.263 | 1.837 | 1.558 | 1.177 | 0.847 | 0.484 | 0.137 | 3.199 | 3.009 | 2.526 | 2.291 | 1.829 | 1.579 | 1.182 | 0.848 | 0.482 | 0.133 | 3.2 | 2.976 | 2.474 | 2.259 | 1.854 | 1.587 | 1.169 | 0.837 | 0.488 | 0.133 | 3.233 | 3.163 | 2.513 | 2.328 | 1.886 | 1.586 | 1.226 | 0.886 | 0.492 | 0.134 | 3.193 | 3.08 | 2.585 | 2.329 | 1.884 | 1.57 | 1.202 | 0.884 | 0.479 | 0.144 | 3.24 | 3.206 | 2.522 | 2.351 | 1.881 | 1.572 | 1.196 | 0.866 | 0.495 | 0.144
| 4:00 | 30.1 | 3.181 | 2.97 | 2.555 | 2.261 | 1.837 | 1.557 | 1.177 | 0.848 | 0.484 | 0.137 | 3.2 | 3.007 | 2.526 | 2.291 | 1.829 | 1.58 | 1.182 | 0.849 | 0.482 | 0.133 | 3.202 | 2.975 | 2.473 | 2.258 | 1.853 | 1.587 | 1.168 | 0.837 | 0.488 | 0.133 | 3.232 | 3.163 | 2.514 | 2.329 | 1.887 | 1.587 | 1.226 | 0.887 | 0.493 | 0.134 | 3.198 | 3.08 | 2.585 | 2.329 | 1.885 | 1.571 | 1.202 | 0.884 | 0.48 | 0.144 | 3.244 | 3.206 | 2.523 | 2.352 | 1.88 | 1.572 | 1.196 | 0.866 | 0.495 | 0.144
| 4:15 | 30 | 3.181 | 2.969 | 2.555 | 2.26 | 1.837 | 1.557 | 1.176 | 0.847 | 0.483 | 0.137 | 3.201 | 3.008 | 2.525 | 2.291 | 1.829 | 1.58 | 1.182 | 0.848 | 0.482 | 0.133 | 3.201 | 2.973 | 2.472 | 2.258 | 1.853 | 1.586 | 1.167 | 0.837 | 0.488 | 0.133 | 3.237 | 3.162 | 2.514 | 2.329 | 1.887 | 1.588 | 1.227 | 0.887 | 0.493 | 0.134 | 3.191 | 3.077 | 2.586 | 2.329 | 1.884 | 1.571 | 1.202 | 0.884 | 0.48 | 0.144 | 3.247 | 3.211 | 2.524 | 2.352 | 1.88 | 1.573 | 1.196 | 0.866 | 0.495 | 0.144
| 4:30 | 30 | 3.178 | 2.966 | 2.554 | 2.26 | 1.836 | 1.557 | 1.176 | 0.847 | 0.483 | 0.137 | 3.204 | 3.006 | 2.525 | 2.29 | 1.829 | 1.58 | 1.181 | 0.848 | 0.482 | 0.133 | 3.202 | 2.974 | 2.471 | 2.258 | 1.853 | 1.586 | 1.166 | 0.837 | 0.487 | 0.133 | 3.239 | 3.164 | 2.515 | 2.33 | 1.888 | 1.589 | 1.228 | 0.887 | 0.493 | 0.134 | 3.192 | 3.084 | 2.587 | 2.33 | 1.884 | 1.572 | 1.203 | 0.885 | 0.48 | 0.144 | 3.245 | 3.207 | 2.525 | 2.353 | 1.881 | 1.573 | 1.196 | 0.866 | 0.495 | 0.144
| 4:45 | 30 | 3.178 | 2.965 | 2.554 | 2.259 | 1.836 | 1.556 | 1.175 | 0.846 | 0.483 | 0.137 | 3.203 | 3.005 | 2.523 | 2.289 | 1.829 | 1.58 | 1.181 | 0.848 | 0.482 | 0.133 | 3.197 | 2.974 | 2.471 | 2.257 | 1.852 | 1.587 | 1.165 | 0.837 | 0.487 | 0.132 | 3.243 | 3.16 | 2.516 | 2.33 | 1.888 | 1.589 | 1.228 | 0.888 | 0.493 | 0.134 | 3.199 | 3.08 | 2.588 | 2.33 | 1.883 | 1.573 | 1.203 | 0.884 | 0.48 | 0.144 | 3.244 | 3.203 | 2.526 | 2.352 | 1.881 | 1.573 | 1.196 | 0.866 | 0.494 | 0.144
| 5:00 | 30.1 | 3.177 | 2.963 | 2.555 | 2.258 | 1.835 | 1.555 | 1.175 | 0.846 | 0.483 | 0.137 | 3.197 | 3.006 | 2.524 | 2.29 | 1.828 | 1.58 | 1.181 | 0.848 | 0.481 | 0.133 | 3.194 | 2.976 | 2.47 | 2.257 | 1.852 | 1.586 | 1.165 | 0.836 | 0.487 | 0.133 | 3.239 | 3.165 | 2.518 | 2.331 | 1.887 | 1.59 | 1.228 | 0.888 | 0.494 | 0.134 | 3.194 | 3.082 | 2.587 | 2.329 | 1.882 | 1.573 | 1.203 | 0.885 | 0.48 | 0.144 | 3.246 | 3.201 | 2.526 | 2.352 | 1.88 | 1.573 | 1.196 | 0.866 | 0.493 | 0.144
| 5:15 | 30.1 | 3.178 | 2.961 | 2.554 | 2.257 | 1.835 | 1.555 | 1.175 | 0.846 | 0.483 | 0.137 | 3.197 | 3.005 | 2.523 | 2.29 | 1.829 | 1.58 | 1.181 | 0.848 | 0.481 | 0.133 | 3.195 | 2.975 | 2.471 | 2.257 | 1.851 | 1.586 | 1.163 | 0.836 | 0.487 | 0.133 | 3.241 | 3.161 | 2.519 | 2.332 | 1.887 | 1.591 | 1.229 | 0.888 | 0.494 | 0.134 | 3.195 | 3.082 | 2.586 | 2.329 | 1.882 | 1.573 | 1.204 | 0.885 | 0.48 | 0.144 | 3.245 | 3.2 | 2.527 | 2.353 | 1.881 | 1.573 | 1.196 | 0.867 | 0.483 | 0.144
| 5:30 | 30.1 | 3.175 | 2.959 | 2.554 | 2.257 | 1.835 | 1.555 | 1.174 | 0.846 | 0.483 | 0.137 | 3.199 | 3.007 | 2.523 | 2.289 | 1.829 | 1.578 | 1.181 | 0.848 | 0.481 | 0.134 | 3.189 | 2.976 | 2.469 | 2.257 | 1.851 | 1.586 | 1.161 | 0.836 | 0.487 | 0.133 | 3.242 | 3.164 | 2.519 | 2.333 | 1.887 | 1.591 | 1.229 | 0.889 | 0.494 | 0.134 | 3.198 | 3.079 | 2.587 | 2.331 | 1.882 | 1.574 | 1.204 | 0.885 | 0.48 | 0.144 | 3.245 | 3.198 | 2.527 | 2.353 | 1.88 | 1.573 | 1.196 | 0.867 | 0.482 | 0.144
| 5:45 | 30 | 3.175 | 2.958 | 2.553 | 2.257 | 1.834 | 1.554 | 1.174 | 0.845 | 0.483 | 0.137 | 3.197 | 3.006 | 2.522 | 2.29 | 1.829 | 1.578 | 1.181 | 0.848 | 0.481 | 0.134 | 3.193 | 2.975 | 2.468 | 2.256 | 1.85 | 1.586 | 1.16 | 0.836 | 0.487 | 0.133 | 3.248 | 3.167 | 2.521 | 2.334 | 1.887 | 1.592 | 1.23 | 0.889 | 0.494 | 0.134 | 3.197 | 3.08 | 2.587 | 2.331 | 1.882 | 1.575 | 1.204 | 0.885 | 0.48 | 0.144 | 3.25 | 3.201 | 2.529 | 2.353 | 1.881 | 1.573 | 1.196 | 0.867 | 0.483 | 0.144
| 6:00 | 30 | 3.171 | 2.955 | 2.553 | 2.256 | 1.833 | 1.554 | 1.174 | 0.845 | 0.482 | 0.137 | 3.191 | 3 | 2.521 | 2.29 | 1.828 | 1.579 | 1.18 | 0.847 | 0.481 | 0.134 | 3.188 | 2.973 | 2.468 | 2.256 | 1.85 | 1.585 | 1.159 | 0.836 | 0.487 | 0.133 | 3.245 | 3.16 | 2.521 | 2.335 | 1.887 | 1.592 | 1.23 | 0.889 | 0.494 | 0.134 | 3.199 | 3.08 | 2.587 | 2.331 | 1.882 | 1.575 | 1.204 | 0.886 | 0.48 | 0.144 | 3.252 | 3.199 | 2.529 | 2.352 | 1.881 | 1.573 | 1.196 | 0.867 | 0.483 | 0.144
490
| Time | T° 490 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10
| 0:01 | 30 | 2.326 | 2.188 | 1.861 | 1.661 | 1.347 | 1.144 | 0.876 | 0.639 | 0.378 | 0.138 | 2.347 | 2.203 | 1.845 | 1.669 | 1.333 | 1.154 | 0.875 | 0.638 | 0.378 | 0.134 | 2.367 | 2.172 | 1.81 | 1.648 | 1.356 | 1.161 | 0.867 | 0.628 | 0.383 | 0.134 | 2.412 | 2.367 | 1.892 | 1.739 | 1.402 | 1.204 | 0.926 | 0.682 | 0.395 | 0.134 | 2.366 | 2.286 | 1.929 | 1.731 | 1.409 | 1.188 | 0.917 | 0.687 | 0.379 | 0.14 | 2.414 | 2.382 | 1.883 | 1.749 | 1.409 | 1.198 | 0.91 | 0.673 | 0.395 | 0.14
| 0:16 | 30 | 2.322 | 2.167 | 1.849 | 1.646 | 1.336 | 1.133 | 0.869 | 0.635 | 0.376 | 0.139 | 2.324 | 2.184 | 1.837 | 1.655 | 1.323 | 1.145 | 0.871 | 0.635 | 0.375 | 0.135 | 2.348 | 2.156 | 1.795 | 1.631 | 1.345 | 1.155 | 0.86 | 0.626 | 0.38 | 0.135 | 2.4 | 2.336 | 1.881 | 1.73 | 1.396 | 1.199 | 0.923 | 0.681 | 0.393 | 0.134 | 2.35 | 2.266 | 1.917 | 1.723 | 1.402 | 1.183 | 0.913 | 0.685 | 0.377 | 0.14 | 2.398 | 2.359 | 1.871 | 1.74 | 1.399 | 1.19 | 0.905 | 0.67 | 0.392 | 0.139
| 0:31 | 30 | 2.308 | 2.156 | 1.841 | 1.637 | 1.329 | 1.127 | 0.864 | 0.633 | 0.374 | 0.139 | 2.313 | 2.173 | 1.826 | 1.647 | 1.316 | 1.139 | 0.865 | 0.632 | 0.374 | 0.135 | 2.334 | 2.145 | 1.786 | 1.627 | 1.338 | 1.149 | 0.856 | 0.624 | 0.378 | 0.135 | 2.391 | 2.324 | 1.873 | 1.724 | 1.391 | 1.196 | 0.919 | 0.678 | 0.391 | 0.134 | 2.341 | 2.252 | 1.908 | 1.716 | 1.395 | 1.179 | 0.909 | 0.684 | 0.376 | 0.14 | 2.389 | 2.345 | 1.863 | 1.734 | 1.393 | 1.186 | 0.901 | 0.668 | 0.39 | 0.139
| 0:46 | 29.9 | 2.299 | 2.148 | 1.835 | 1.632 | 1.326 | 1.123 | 0.861 | 0.631 | 0.373 | 0.139 | 2.306 | 2.166 | 1.82 | 1.641 | 1.313 | 1.136 | 0.863 | 0.631 | 0.373 | 0.135 | 2.327 | 2.138 | 1.78 | 1.628 | 1.333 | 1.145 | 0.852 | 0.622 | 0.376 | 0.135 | 2.385 | 2.317 | 1.866 | 1.72 | 1.387 | 1.193 | 0.916 | 0.677 | 0.39 | 0.134 | 2.336 | 2.243 | 1.901 | 1.712 | 1.39 | 1.176 | 0.906 | 0.682 | 0.375 | 0.14 | 2.383 | 2.335 | 1.856 | 1.73 | 1.387 | 1.184 | 0.898 | 0.667 | 0.389 | 0.139
| 1:01 | 30 | 2.295 | 2.144 | 1.833 | 1.629 | 1.323 | 1.121 | 0.86 | 0.631 | 0.373 | 0.139 | 2.302 | 2.163 | 1.816 | 1.639 | 1.311 | 1.134 | 0.861 | 0.63 | 0.372 | 0.135 | 2.322 | 2.134 | 1.776 | 1.624 | 1.331 | 1.143 | 0.85 | 0.621 | 0.375 | 0.135 | 2.382 | 2.313 | 1.862 | 1.718 | 1.384 | 1.191 | 0.914 | 0.676 | 0.389 | 0.134 | 2.331 | 2.238 | 1.898 | 1.709 | 1.387 | 1.174 | 0.903 | 0.682 | 0.375 | 0.14 | 2.38 | 2.329 | 1.853 | 1.727 | 1.385 | 1.182 | 0.897 | 0.666 | 0.388 | 0.139
| 1:16 | 30.1 | 2.29 | 2.141 | 1.831 | 1.627 | 1.321 | 1.12 | 0.858 | 0.63 | 0.373 | 0.139 | 2.298 | 2.16 | 1.813 | 1.637 | 1.31 | 1.133 | 0.86 | 0.63 | 0.372 | 0.135 | 2.317 | 2.132 | 1.773 | 1.621 | 1.329 | 1.142 | 0.848 | 0.62 | 0.375 | 0.135 | 2.379 | 2.309 | 1.859 | 1.716 | 1.383 | 1.19 | 0.914 | 0.675 | 0.388 | 0.134 | 2.329 | 2.235 | 1.893 | 1.707 | 1.384 | 1.173 | 0.902 | 0.681 | 0.374 | 0.14 | 2.377 | 2.326 | 1.85 | 1.725 | 1.383 | 1.181 | 0.895 | 0.666 | 0.387 | 0.139
| 1:31 | 30.1 | 2.288 | 2.139 | 1.83 | 1.625 | 1.321 | 1.119 | 0.857 | 0.63 | 0.372 | 0.139 | 2.296 | 2.159 | 1.81 | 1.637 | 1.309 | 1.133 | 0.86 | 0.629 | 0.371 | 0.135 | 2.313 | 2.13 | 1.772 | 1.619 | 1.329 | 1.141 | 0.848 | 0.62 | 0.374 | 0.135 | 2.376 | 2.307 | 1.857 | 1.715 | 1.382 | 1.19 | 0.913 | 0.675 | 0.387 | 0.134 | 2.327 | 2.232 | 1.892 | 1.706 | 1.382 | 1.172 | 0.9 | 0.68 | 0.374 | 0.14 | 2.376 | 2.322 | 1.848 | 1.724 | 1.381 | 1.179 | 0.894 | 0.665 | 0.387 | 0.139
| 1:46 | 30 | 2.284 | 2.138 | 1.828 | 1.623 | 1.32 | 1.119 | 0.856 | 0.629 | 0.372 | 0.139 | 2.294 | 2.156 | 1.808 | 1.636 | 1.308 | 1.132 | 0.86 | 0.629 | 0.371 | 0.135 | 2.31 | 2.129 | 1.77 | 1.618 | 1.328 | 1.141 | 0.846 | 0.62 | 0.374 | 0.135 | 2.375 | 2.306 | 1.856 | 1.715 | 1.381 | 1.189 | 0.912 | 0.674 | 0.387 | 0.134 | 2.326 | 2.231 | 1.89 | 1.705 | 1.38 | 1.171 | 0.9 | 0.68 | 0.374 | 0.14 | 2.374 | 2.32 | 1.846 | 1.724 | 1.379 | 1.178 | 0.893 | 0.665 | 0.386 | 0.139
| 2:01 | 30.1 | 2.281 | 2.137 | 1.829 | 1.623 | 1.319 | 1.119 | 0.856 | 0.629 | 0.372 | 0.139 | 2.292 | 2.156 | 1.806 | 1.637 | 1.309 | 1.132 | 0.86 | 0.629 | 0.371 | 0.135 | 2.307 | 2.127 | 1.769 | 1.617 | 1.328 | 1.14 | 0.847 | 0.62 | 0.373 | 0.135 | 2.374 | 2.305 | 1.854 | 1.714 | 1.381 | 1.189 | 0.912 | 0.674 | 0.386 | 0.135 | 2.325 | 2.228 | 1.889 | 1.704 | 1.379 | 1.171 | 0.899 | 0.68 | 0.373 | 0.14 | 2.374 | 2.319 | 1.845 | 1.724 | 1.378 | 1.177 | 0.893 | 0.664 | 0.386 | 0.139
| 2:16 | 30 | 2.28 | 2.131 | 1.827 | 1.622 | 1.317 | 1.119 | 0.856 | 0.628 | 0.372 | 0.139 | 2.292 | 2.154 | 1.806 | 1.636 | 1.308 | 1.131 | 0.86 | 0.629 | 0.371 | 0.135 | 2.304 | 2.125 | 1.768 | 1.617 | 1.327 | 1.14 | 0.845 | 0.62 | 0.373 | 0.135 | 2.372 | 2.304 | 1.853 | 1.713 | 1.38 | 1.188 | 0.912 | 0.674 | 0.386 | 0.135 | 2.324 | 2.228 | 1.888 | 1.704 | 1.377 | 1.171 | 0.898 | 0.68 | 0.373 | 0.14 | 2.373 | 2.317 | 1.844 | 1.724 | 1.376 | 1.177 | 0.893 | 0.664 | 0.386 | 0.139
| 2:31 | 30 | 2.279 | 2.129 | 1.827 | 1.621 | 1.317 | 1.118 | 0.856 | 0.628 | 0.372 | 0.139 | 2.291 | 2.152 | 1.806 | 1.635 | 1.308 | 1.131 | 0.859 | 0.629 | 0.37 | 0.135 | 2.303 | 2.125 | 1.768 | 1.616 | 1.327 | 1.139 | 0.845 | 0.62 | 0.373 | 0.135 | 2.371 | 2.303 | 1.853 | 1.713 | 1.38 | 1.188 | 0.912 | 0.675 | 0.385 | 0.135 | 2.323 | 2.227 | 1.887 | 1.703 | 1.377 | 1.171 | 0.898 | 0.679 | 0.373 | 0.14 | 2.373 | 2.316 | 1.844 | 1.724 | 1.376 | 1.176 | 0.892 | 0.663 | 0.385 | 0.139
| 2:46 | 30 | 2.276 | 2.127 | 1.826 | 1.619 | 1.316 | 1.118 | 0.855 | 0.628 | 0.372 | 0.139 | 2.29 | 2.152 | 1.805 | 1.634 | 1.307 | 1.131 | 0.859 | 0.628 | 0.37 | 0.135 | 2.303 | 2.125 | 1.767 | 1.615 | 1.327 | 1.139 | 0.845 | 0.62 | 0.373 | 0.135 | 2.37 | 2.302 | 1.851 | 1.712 | 1.379 | 1.188 | 0.912 | 0.673 | 0.385 | 0.135 | 2.322 | 2.227 | 1.886 | 1.703 | 1.376 | 1.17 | 0.897 | 0.679 | 0.373 | 0.14 | 2.371 | 2.314 | 1.844 | 1.723 | 1.375 | 1.175 | 0.892 | 0.663 | 0.385 | 0.139
| 3:01 | 30.1 | 2.275 | 2.126 | 1.825 | 1.619 | 1.315 | 1.117 | 0.855 | 0.628 | 0.372 | 0.139 | 2.289 | 2.15 | 1.804 | 1.634 | 1.307 | 1.131 | 0.859 | 0.628 | 0.37 | 0.135 | 2.301 | 2.124 | 1.767 | 1.616 | 1.327 | 1.138 | 0.844 | 0.62 | 0.373 | 0.135 | 2.367 | 2.302 | 1.851 | 1.712 | 1.379 | 1.188 | 0.912 | 0.673 | 0.385 | 0.135 | 2.322 | 2.227 | 1.886 | 1.703 | 1.375 | 1.17 | 0.897 | 0.679 | 0.373 | 0.14 | 2.371 | 2.313 | 1.843 | 1.723 | 1.373 | 1.174 | 0.891 | 0.662 | 0.385 | 0.139
| 3:16 | 30 | 2.274 | 2.124 | 1.826 | 1.619 | 1.316 | 1.117 | 0.855 | 0.627 | 0.372 | 0.139 | 2.288 | 2.15 | 1.803 | 1.633 | 1.307 | 1.131 | 0.859 | 0.628 | 0.369 | 0.135 | 2.299 | 2.124 | 1.766 | 1.615 | 1.326 | 1.139 | 0.844 | 0.62 | 0.373 | 0.135 | 2.366 | 2.302 | 1.85 | 1.712 | 1.379 | 1.188 | 0.912 | 0.673 | 0.385 | 0.135 | 2.322 | 2.227 | 1.886 | 1.703 | 1.375 | 1.17 | 0.896 | 0.679 | 0.373 | 0.14 | 2.37 | 2.312 | 1.843 | 1.722 | 1.373 | 1.174 | 0.891 | 0.662 | 0.385 | 0.139
| 3:31 | 30.1 | 2.273 | 2.122 | 1.825 | 1.617 | 1.315 | 1.116 | 0.855 | 0.627 | 0.371 | 0.139 | 2.288 | 2.15 | 1.802 | 1.633 | 1.307 | 1.13 | 0.858 | 0.628 | 0.369 | 0.135 | 2.296 | 2.123 | 1.765 | 1.614 | 1.325 | 1.138 | 0.843 | 0.619 | 0.372 | 0.135 | 2.365 | 2.301 | 1.849 | 1.711 | 1.378 | 1.188 | 0.911 | 0.673 | 0.385 | 0.135 | 2.321 | 2.227 | 1.885 | 1.702 | 1.374 | 1.17 | 0.896 | 0.679 | 0.373 | 0.14 | 2.37 | 2.311 | 1.843 | 1.722 | 1.372 | 1.173 | 0.89 | 0.662 | 0.384 | 0.139
| 3:46 | 30 | 2.273 | 2.122 | 1.825 | 1.617 | 1.314 | 1.116 | 0.854 | 0.627 | 0.371 | 0.139 | 2.287 | 2.149 | 1.802 | 1.633 | 1.307 | 1.13 | 0.859 | 0.628 | 0.369 | 0.136 | 2.296 | 2.122 | 1.764 | 1.613 | 1.325 | 1.138 | 0.843 | 0.619 | 0.373 | 0.135 | 2.365 | 2.301 | 1.849 | 1.712 | 1.378 | 1.188 | 0.911 | 0.673 | 0.385 | 0.135 | 2.32 | 2.226 | 1.884 | 1.702 | 1.374 | 1.17 | 0.896 | 0.679 | 0.373 | 0.14 | 2.369 | 2.309 | 1.843 | 1.722 | 1.371 | 1.173 | 0.89 | 0.661 | 0.384 | 0.139
| 4:01 | 30.1 | 2.269 | 2.121 | 1.825 | 1.617 | 1.314 | 1.116 | 0.854 | 0.626 | 0.371 | 0.139 | 2.287 | 2.148 | 1.802 | 1.632 | 1.307 | 1.13 | 0.858 | 0.627 | 0.369 | 0.136 | 2.294 | 2.122 | 1.763 | 1.613 | 1.324 | 1.138 | 0.842 | 0.619 | 0.373 | 0.135 | 2.364 | 2.3 | 1.849 | 1.712 | 1.377 | 1.188 | 0.911 | 0.673 | 0.385 | 0.135 | 2.32 | 2.226 | 1.884 | 1.702 | 1.373 | 1.17 | 0.896 | 0.679 | 0.372 | 0.14 | 2.369 | 2.308 | 1.842 | 1.722 | 1.371 | 1.172 | 0.889 | 0.66 | 0.384 | 0.139
| 4:16 | 30 | 2.269 | 2.12 | 1.825 | 1.615 | 1.314 | 1.115 | 0.853 | 0.626 | 0.371 | 0.139 | 2.286 | 2.148 | 1.8 | 1.632 | 1.306 | 1.13 | 0.858 | 0.627 | 0.369 | 0.136 | 2.295 | 2.122 | 1.762 | 1.613 | 1.324 | 1.138 | 0.842 | 0.619 | 0.372 | 0.135 | 2.364 | 2.3 | 1.848 | 1.711 | 1.377 | 1.187 | 0.911 | 0.672 | 0.385 | 0.135 | 2.32 | 2.225 | 1.884 | 1.702 | 1.372 | 1.17 | 0.895 | 0.679 | 0.372 | 0.14 | 2.368 | 2.308 | 1.842 | 1.722 | 1.37 | 1.172 | 0.889 | 0.66 | 0.384 | 0.139
| 4:31 | 30 | 2.269 | 2.118 | 1.824 | 1.615 | 1.313 | 1.115 | 0.853 | 0.626 | 0.371 | 0.139 | 2.286 | 2.147 | 1.8 | 1.632 | 1.307 | 1.13 | 0.858 | 0.627 | 0.369 | 0.136 | 2.293 | 2.122 | 1.762 | 1.613 | 1.324 | 1.137 | 0.841 | 0.619 | 0.372 | 0.135 | 2.363 | 2.3 | 1.848 | 1.711 | 1.377 | 1.188 | 0.911 | 0.673 | 0.385 | 0.135 | 2.319 | 2.225 | 1.883 | 1.702 | 1.371 | 1.17 | 0.895 | 0.678 | 0.372 | 0.14 | 2.368 | 2.306 | 1.841 | 1.721 | 1.369 | 1.172 | 0.889 | 0.66 | 0.383 | 0.139
| 4:46 | 30 | 2.268 | 2.116 | 1.824 | 1.615 | 1.312 | 1.115 | 0.853 | 0.626 | 0.371 | 0.139 | 2.285 | 2.146 | 1.8 | 1.632 | 1.306 | 1.129 | 0.857 | 0.627 | 0.369 | 0.136 | 2.29 | 2.12 | 1.761 | 1.612 | 1.324 | 1.138 | 0.84 | 0.619 | 0.372 | 0.135 | 2.363 | 2.3 | 1.847 | 1.71 | 1.376 | 1.187 | 0.911 | 0.672 | 0.385 | 0.135 | 2.318 | 2.225 | 1.883 | 1.701 | 1.371 | 1.169 | 0.895 | 0.678 | 0.372 | 0.14 | 2.367 | 2.305 | 1.841 | 1.721 | 1.369 | 1.171 | 0.888 | 0.659 | 0.383 | 0.139
| 5:01 | 30.1 | 2.266 | 2.116 | 1.823 | 1.613 | 1.312 | 1.114 | 0.853 | 0.625 | 0.371 | 0.139 | 2.283 | 2.146 | 1.799 | 1.633 | 1.306 | 1.13 | 0.857 | 0.627 | 0.369 | 0.136 | 2.29 | 2.12 | 1.76 | 1.611 | 1.323 | 1.137 | 0.839 | 0.619 | 0.372 | 0.135 | 2.362 | 2.299 | 1.847 | 1.711 | 1.375 | 1.187 | 0.911 | 0.672 | 0.385 | 0.135 | 2.317 | 2.224 | 1.881 | 1.701 | 1.369 | 1.169 | 0.895 | 0.678 | 0.372 | 0.14 | 2.367 | 2.303 | 1.84 | 1.721 | 1.368 | 1.171 | 0.888 | 0.659 | 0.382 | 0.139
| 5:16 | 30.1 | 2.266 | 2.115 | 1.823 | 1.613 | 1.312 | 1.114 | 0.852 | 0.625 | 0.371 | 0.139 | 2.283 | 2.146 | 1.799 | 1.631 | 1.306 | 1.129 | 0.857 | 0.627 | 0.369 | 0.136 | 2.289 | 2.12 | 1.761 | 1.611 | 1.323 | 1.137 | 0.838 | 0.619 | 0.372 | 0.135 | 2.362 | 2.299 | 1.847 | 1.711 | 1.375 | 1.187 | 0.911 | 0.672 | 0.385 | 0.135 | 2.318 | 2.225 | 1.881 | 1.701 | 1.369 | 1.169 | 0.895 | 0.678 | 0.372 | 0.14 | 2.366 | 2.304 | 1.84 | 1.72 | 1.368 | 1.17 | 0.887 | 0.658 | 0.375 | 0.139
| 5:31 | 30.1 | 2.265 | 2.113 | 1.823 | 1.613 | 1.311 | 1.113 | 0.852 | 0.625 | 0.371 | 0.139 | 2.283 | 2.144 | 1.798 | 1.631 | 1.306 | 1.127 | 0.857 | 0.627 | 0.369 | 0.136 | 2.288 | 2.12 | 1.759 | 1.611 | 1.322 | 1.136 | 0.837 | 0.619 | 0.372 | 0.135 | 2.362 | 2.299 | 1.846 | 1.71 | 1.374 | 1.187 | 0.911 | 0.672 | 0.384 | 0.135 | 2.317 | 2.224 | 1.88 | 1.701 | 1.368 | 1.169 | 0.894 | 0.678 | 0.372 | 0.14 | 2.366 | 2.302 | 1.839 | 1.72 | 1.368 | 1.169 | 0.887 | 0.658 | 0.375 | 0.139
| 5:46 | 30 | 2.263 | 2.111 | 1.822 | 1.612 | 1.31 | 1.113 | 0.852 | 0.625 | 0.371 | 0.139 | 2.283 | 2.145 | 1.797 | 1.631 | 1.306 | 1.128 | 0.857 | 0.626 | 0.369 | 0.136 | 2.287 | 2.119 | 1.759 | 1.611 | 1.321 | 1.136 | 0.836 | 0.619 | 0.372 | 0.135 | 2.361 | 2.298 | 1.845 | 1.71 | 1.374 | 1.187 | 0.911 | 0.672 | 0.384 | 0.135 | 2.316 | 2.224 | 1.879 | 1.701 | 1.368 | 1.169 | 0.894 | 0.678 | 0.372 | 0.14 | 2.364 | 2.301 | 1.839 | 1.719 | 1.367 | 1.169 | 0.887 | 0.658 | 0.375 | 0.139
| 6:01 | 30 | 2.263 | 2.11 | 1.822 | 1.611 | 1.31 | 1.113 | 0.852 | 0.624 | 0.371 | 0.139 | 2.282 | 2.144 | 1.798 | 1.631 | 1.306 | 1.128 | 0.857 | 0.626 | 0.369 | 0.136 | 2.287 | 2.119 | 1.759 | 1.611 | 1.321 | 1.137 | 0.836 | 0.618 | 0.372 | 0.135 | 2.361 | 2.298 | 1.845 | 1.71 | 1.374 | 1.187 | 0.911 | 0.672 | 0.384 | 0.135 | 2.316 | 2.223 | 1.88 | 1.7 | 1.368 | 1.169 | 0.894 | 0.678 | 0.372 | 0.14 | 2.364 | 2.301 | 1.839 | 1.72 | 1.367 | 1.169 | 0.887 | 0.657 | 0.375 | 0.139
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| A | -0.382 | -0.74 | -0.313 | -0.684 | -0.464 | -0.423 | -0.313 | -0.199 | -0.105 | 0.009 | Max V [478]
|  | 0.925 | 0.855 | 0.868 | 0.9 | 0.914 | 0.929 | 0.939 | 0.918 | 0.881 | 0.797 | R-Squared [478]
|  | 0:45 | 0:30 | 0:45 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | t at Max V [478]
|  | 0:22 | ????? | 0:26 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [478]
|  | -0.571 | -0.705 | -0.463 | -0.526 | -0.395 | -0.366 | -0.273 | -0.135 | -0.077 | 0.009 | Max V [490]
|  | 0.964 | 0.912 | 0.937 | 0.916 | 0.92 | 0.915 | 0.931 | 0.946 | 0.948 | 0.621 | R-Squared [490]
|  | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | t at Max V [490]
|  | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [490]
| B | -0.757 | -0.758 | -0.561 | -0.626 | -0.448 | -0.375 | -0.286 | -0.169 | -0.142 | -0.006 | Max V [478]
|  | 0.911 | 0.936 | 0.955 | 0.89 | 0.891 | 0.896 | 0.967 | 0.871 | 0.903 | 0.88 | R-Squared [478]
|  | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | t at Max V [478]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [478]
|  | -0.717 | -0.661 | -0.505 | -0.502 | -0.368 | -0.327 | -0.249 | -0.124 | -0.095 | 0.013 | Max V [490]
|  | 0.89 | 0.908 | 0.976 | 0.924 | 0.904 | 0.916 | 0.962 | 0.939 | 0.925 | 0.758 | R-Squared [490]
|  | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | t at Max V [490]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [490]
| C | -0.588 | -0.656 | -0.603 | -0.364 | -0.504 | -0.359 | -0.33 | -0.164 | -0.175 | -0.004 | Max V [478]
|  | 0.926 | 0.833 | 0.91 | 0.579 | 0.904 | 0.964 | 0.952 | 0.937 | 0.93 | 0.9 | R-Squared [478]
|  | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:45 | t at Max V [478]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:20 | Lagtime [478]
|  | -0.741 | -0.629 | -0.564 | -0.345 | -0.408 | -0.308 | -0.278 | -0.113 | -0.13 | 0.01 | Max V [490]
|  | 0.932 | 0.933 | 0.94 | 0.734 | 0.933 | 0.961 | 0.955 | 0.97 | 0.953 | 0.605 | R-Squared [490]
|  | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | t at Max V [490]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [490]
| D | -0.769 | -1.605 | -0.733 | -0.735 | -0.326 | -0.35 | -0.359 | -0.12 | -0.113 | -0.006 | Max V [478]
|  | 0.788 | 0.933 | 0.886 | 0.904 | 0.855 | 0.866 | 0.848 | 0.874 | 0.753 | 0.723 | R-Squared [478]
|  | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | t at Max V [478]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [478]
|  | -0.505 | -0.855 | -0.511 | -0.35 | -0.297 | -0.205 | -0.206 | -0.107 | -0.105 | 0.009 | Max V [490]
|  | 0.951 | 0.851 | 0.972 | 0.939 | 0.974 | 0.962 | 0.974 | 0.947 | 0.986 | 0.681 | R-Squared [490]
|  | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | t at Max V [490]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [490]
| E | -0.755 | -1.103 | -0.609 | -0.555 | -0.472 | -0.399 | -0.326 | -0.173 | -0.033 | -0.024 | Max V [478]
|  | 0.876 | 0.935 | 0.909 | 0.918 | 0.93 | 0.866 | 0.904 | 0.852 | 0.537 | 0.759 | R-Squared [478]
|  | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | t at Max V [478]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [478]
|  | -0.557 | -0.795 | -0.527 | -0.369 | -0.385 | -0.233 | -0.233 | -0.076 | -0.077 | -0.007 | Max V [490]
|  | 0.932 | 0.94 | 0.96 | 0.96 | 0.98 | 0.969 | 0.987 | 0.915 | 0.928 | 0.893 | R-Squared [490]
|  | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | t at Max V [490]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [490]
| F | -0.751 | -1.216 | -0.572 | -0.517 | -0.445 | -0.436 | -0.225 | -0.231 | -0.245 | -0.025 | Max V [478]
|  | 0.796 | 0.877 | 0.858 | 0.9 | 0.886 | 0.884 | 0.898 | 0.841 | 0.818 | 0.849 | R-Squared [478]
|  | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 0:30 | 5:00 | 0:30 | t at Max V [478]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 4:18 | ????? | Lagtime [478]
|  | -0.55 | -0.874 | -0.499 | -0.349 | -0.393 | -0.266 | -0.216 | -0.109 | -0.17 | -0.016 | Max V [490]
|  | 0.909 | 0.944 | 0.961 | 0.952 | 0.957 | 0.923 | 0.974 | 0.948 | 0.835 | 0.837 | R-Squared [490]
|  | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 0:31 | 5:01 | 0:31 | t at Max V [490]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 3:31 | ????? | Lagtime [490]